## AlarmDescriptions
TextList	Id	Default

Device.Application.atAlarmDescriptions	IO.bs1_cd1.fault	IO Base 1 Card 1 fault
Device.Application.atAlarmDescriptions	g.fv1Open.faults.chan	Feed valve 1 channel fault
Device.Application.atAlarmDescriptions	g.fv1Close.faults.chan	Feed valve 1 channel fault
Device.Application.atAlarmDescriptions	g.fv2Open.faults.chan	Feed valve 2 channel fault
Device.Application.atAlarmDescriptions	g.fv2Close.faults.chan	Feed valve 2 channel fault
Device.Application.atAlarmDescriptions	g.fv3Open.faults.chan	Feed valve 3 channel fault
Device.Application.atAlarmDescriptions	g.fv3Close.faults.chan	Feed valve 3 channel fault
Device.Application.atAlarmDescriptions	g.feedMixEmpty.faults.chan	Feed mixer Empty channel fault
Device.Application.atAlarmDescriptions	g.feedMixProxM.faults.chan	feedMixProxM.faults.chan
Device.Application.atAlarmDescriptions	IO.spareDI.faults.chan	IO.spareDI.faults.chan
Device.Application.atAlarmDescriptions	IO.spareDI.alm	IO.spareDI.alm
Device.Application.atAlarmDescriptions	g.waterMtr.fault	waterMtr.fault
Device.Application.atAlarmDescriptions	g.water.faults.chan	water.faults.chan
Device.Application.atAlarmDescriptions	IO.bs1_cd2.fault	IO Base 2 fault
Device.Application.atAlarmDescriptions	g.fdVlv1.fault	fdVlv1.fault
Device.Application.atAlarmDescriptions	g.fdVlv2.fault	fdVlv2.fault
Device.Application.atAlarmDescriptions	g.fdVlv3.fault	fdVlv3.fault
Device.Application.atAlarmDescriptions	g.feedAugerMale.fault	feedAugerMale.fault
Device.Application.atAlarmDescriptions	g.feedLines1n2Female.fault	feedLines1n2Female.fault
Device.Application.atAlarmDescriptions	g.feedLines3Male.fault	feedLines3Male.fault
Device.Application.atAlarmDescriptions	g.feedLines4n5Female.fault	feedLines4n5Female.fault
Device.Application.atAlarmDescriptions	g.feedAuger1.fault	feedAuger1.fault
Device.Application.atAlarmDescriptions	g.crossAuger.fault	crossAuger.fault
Device.Application.atAlarmDescriptions	g.feedWghDump.fault	feedWghDump.fault
Device.Application.atAlarmDescriptions	g.fan_36E.fault	fan_36E.fault
Device.Application.atAlarmDescriptions	g.fan_36W.fault	fan_36W.fault
Device.Application.atAlarmDescriptions	g.heat.fault	heat.fault
Device.Application.atAlarmDescriptions	g.inlet1Open.fault	inlet1Open.fault
Device.Application.atAlarmDescriptions	g.inlet1Close.fault	inlet1Close.fault
Device.Application.atAlarmDescriptions	g.lights.fault	lights.fault
Device.Application.atAlarmDescriptions	IO.bs1_cd3.fault	IO Base1 Card 3 fault
Device.Application.atAlarmDescriptions	g.inlet2Open.fault	inlet2Open.fault
Device.Application.atAlarmDescriptions	g.inlet2Close.fault	inlet2Close.fault
Device.Application.atAlarmDescriptions	g.waterSol.fault	waterSol.fault
Device.Application.atAlarmDescriptions	IO.spareDQ.fault	IO.spareDQ.fault
Device.Application.atAlarmDescriptions	IO.bs1_cd4.fault	IO Base 1 Card 4 fault
Device.Application.atAlarmDescriptions	IO.bs2_cd1.fault	IO Base 2 Card 1 fault
Device.Application.atAlarmDescriptions	g.varCent.fault	varCent.fault
Device.Application.atAlarmDescriptions	g.varEastWest.fault	varEastWest.fault
Device.Application.atAlarmDescriptions	g.circFan1_2Var.fault	circFan1_2Var.fault
Device.Application.atAlarmDescriptions	g.circFan3_4Var.fault	circFan3_4Var.fault
Device.Application.atAlarmDescriptions	IO.bs2_cd2.fault	IO Base 2 Card 2 fault
Device.Application.atAlarmDescriptions	g.lightDimmer.fault	lightDimmer.fault
Device.Application.atAlarmDescriptions	IO.bs2_cd3.fault	IO Base 2 Card 3 fault
Device.Application.atAlarmDescriptions	g.temp1.faults.over	temp1.faults.over
Device.Application.atAlarmDescriptions	g.temp1.faults.under	temp1.faults.under
Device.Application.atAlarmDescriptions	g.temp1.faults.chan	temp1.faults.chan
Device.Application.atAlarmDescriptions	g.temp1.sensorFault	temp1.sensorFault
Device.Application.atAlarmDescriptions	g.temp2.faults.over	temp2.faults.over
Device.Application.atAlarmDescriptions	g.temp2.faults.under	temp2.faults.under
Device.Application.atAlarmDescriptions	g.temp2.faults.chan	temp2.faults.chan
Device.Application.atAlarmDescriptions	g.temp2.sensorFault	temp2.sensorFault
Device.Application.atAlarmDescriptions	g.temp3.faults.over	temp3.faults.over
Device.Application.atAlarmDescriptions	g.temp3.faults.under	temp3.faults.under
Device.Application.atAlarmDescriptions	g.temp3.faults.chan	temp3.faults.chan
Device.Application.atAlarmDescriptions	g.temp3.sensorFault	temp3.sensorFault
Device.Application.atAlarmDescriptions	g.inlet1Pos.faults.over	inlet1Pos.faults.over
Device.Application.atAlarmDescriptions	g.inlet1Pos.faults.under	inlet1Pos.faults.under
Device.Application.atAlarmDescriptions	g.inlet1Pos.faults.chan	inlet1Pos.faults.chan
Device.Application.atAlarmDescriptions	g.inlet2Pos.faults.over	inlet2Pos.faults.over
Device.Application.atAlarmDescriptions	g.inlet2Pos.faults.under	inlet2Pos.faults.under
Device.Application.atAlarmDescriptions	g.inlet2Pos.faults.chan	inlet2Pos.faults.chan
Device.Application.atAlarmDescriptions	g.humidity.faults.over	humidity.faults.over
Device.Application.atAlarmDescriptions	g.humidity.faults.under	humidity.faults.under
Device.Application.atAlarmDescriptions	g.humidity.faults.chan	humidity.faults.chan
Device.Application.atAlarmDescriptions	g.fdWghLc.faults.over	fdWghLc.faults.over
Device.Application.atAlarmDescriptions	g.fdWghLc.faults.under	fdWghLc.faults.under
Device.Application.atAlarmDescriptions	g.fdWghLc.faults.chan	fdWghLc.faults.chan
Device.Application.atAlarmDescriptions	g.staticPrs.faults.over	staticPrs.faults.over
Device.Application.atAlarmDescriptions	g.staticPrs.faults.under	staticPrs.faults.under
Device.Application.atAlarmDescriptions	g.staticPrs.faults.chan	staticPrs.faults.chan
Device.Application.atAlarmDescriptions	g.fdHopMaleLc.faults.over	fdHopMaleLc.faults.over
Device.Application.atAlarmDescriptions	g.fdHopMaleLc.faults.under	fdHopMaleLc.faults.under
Device.Application.atAlarmDescriptions	g.fdHopMaleLc.faults.chan	fdHopMaleLc.faults.chan
Device.Application.atAlarmDescriptions	atGVL.dynamicAllocationFail	atGVL.dynamicAllocationFail
Device.Application.atAlarmDescriptions	atGVL.arrayOutOfBounds	atGVL.arrayOutOfBounds
Device.Application.atAlarmDescriptions	FeedFemale.mixer.timeoutWhileFilling	Female Mixer timeout while filling
Device.Application.atAlarmDescriptions	FeedFemale.mixer.timeoutWhileDumping	Female Mixer timeout while dumping
Device.Application.atAlarmDescriptions	FeedFemale.mixer.noPremixIngredient	Female Mixer no premix ingredient set
Device.Application.atAlarmDescriptions	g.feedDist.crossAugEnAlm	Cross Auger not enabled
Device.Application.atAlarmDescriptions	g.feedDist.waitDistEmptyAlm	Distribution Cross Auger timeout. Distribution hopper is full or sensor not working
Device.Application.atAlarmDescriptions	g.feedDist.waitValvReadyAlm	Distribution valve(s) not in position and not ready. Check to make sure they are not stuck
Device.Application.atAlarmDescriptions	FeedMale.mixer.timeoutWhileFilling	Male Mixer timeout while filling
Device.Application.atAlarmDescriptions	FeedMale.mixer.timeoutWhileDumping	Male Mixer timeout while dumping
Device.Application.atAlarmDescriptions	FeedMale.mixer.noPremixIngredient	Male Mixer no premix ingredient set
Device.Application.atAlarmDescriptions	g.water.limits.hihi.alm	g.water.limits.hihi.alm
Device.Application.atAlarmDescriptions	g.water.limits.hi.alm	g.water.limits.hi.alm
Device.Application.atAlarmDescriptions	g.water.limits.lo.alm	g.water.limits.lo.alm
Device.Application.atAlarmDescriptions	g.water.limits.lolo.alm	g.water.limits.lolo.alm
Device.Application.atAlarmDescriptions	g.inlet2Pos.limits.hihi.alm	g.inlet2Pos.limits.hihi.alm
Device.Application.atAlarmDescriptions	g.inlet2Pos.limits.hi.alm	g.inlet2Pos.limits.hi.alm
Device.Application.atAlarmDescriptions	g.inlet2Pos.limits.lo.alm	g.inlet2Pos.limits.lo.alm
Device.Application.atAlarmDescriptions	g.inlet2Pos.limits.lolo.alm	g.inlet2Pos.limits.lolo.alm
Device.Application.atAlarmDescriptions	g.fdWghLc.limits.hihi.alm	g.fdWghLc.limits.hihi.alm
Device.Application.atAlarmDescriptions	g.fdWghLc.limits.hi.alm	g.fdWghLc.limits.hi.alm
Device.Application.atAlarmDescriptions	g.fdWghLc.limits.lo.alm	g.fdWghLc.limits.lo.alm
Device.Application.atAlarmDescriptions	g.fdWghLc.limits.lolo.alm	g.fdWghLc.limits.lolo.alm
Device.Application.atAlarmDescriptions	g.fdHopMaleLc.limits.hihi.alm	g.fdHopMaleLc.limits.hihi.alm
Device.Application.atAlarmDescriptions	g.fdHopMaleLc.limits.hi.alm	g.fdHopMaleLc.limits.hi.alm
Device.Application.atAlarmDescriptions	g.fdHopMaleLc.limits.lo.alm	g.fdHopMaleLc.limits.lo.alm
Device.Application.atAlarmDescriptions	g.fdHopMaleLc.limits.lolo.alm	g.fdHopMaleLc.limits.lolo.alm
Device.Application.atAlarmDescriptions	g.pwrFailureLine.faults.chan	g.pwrFailureLine.faults.chan
Device.Application.atAlarmDescriptions	g.pwrFailureLine.alm	Line Power Fail – Check breaker or utility power
Device.Application.atAlarmDescriptions	g.pwrFailureUPS.faults.chan	g.pwrFailureUPS.faults.chan
Device.Application.atAlarmDescriptions	g.pwrFailureUPS.alm	UPS Power Fail – UPS off or needs replacing
Device.Application.atAlarmDescriptions	g.testAlm	Test Alarm
Import from Flat path list,
then export to csv

## Flat path list
Paste unformated text in cell a2
IO.bs1_cd1.fault,g.fv1Open.faults.chan,g.fv1Close.faults.chan,g.fv2Open.faults.chan,g.fv2Close.faults.chan,g.fv3Open.faults.chan,g.fv3Close.faults.chan,g.feedMixEmpty.faults.chan,g.feedMixProxM.faults.chan,IO.spareDI.faults.chan,IO.spareDI.alm,g.waterMtr.fault,g.water.faults.chan,IO.bs1_cd2.fault,g.fdVlv1.fault,g.fdVlv2.fault,g.fdVlv3.fault,g.feedAugerMale.fault,g.feedLines1n2Female.fault,g.feedLines3Male.fault,g.feedLines4n5Female.fault,g.feedAuger1.fault,g.crossAuger.fault,g.feedWghDump.fault,g.fan_36E.fault,g.fan_36W.fault,g.heat.fault,g.inlet1Open.fault,g.inlet1Close.fault,g.lights.fault,IO.bs1_cd3.fault,g.inlet2Open.fault,g.inlet2Close.fault,g.waterSol.fault,IO.spareDQ.fault,IO.bs1_cd4.fault,IO.bs2_cd1.fault,g.varCent.fault,g.varEastWest.fault,g.circFan1_2Var.fault,g.circFan3_4Var.fault,IO.bs2_cd2.fault,g.lightDimmer.fault,IO.bs2_cd3.fault,g.temp1.faults.over,g.temp1.faults.under,g.temp1.faults.chan,g.temp1.sensorFault,g.temp2.faults.over,g.temp2.faults.under,g.temp2.faults.chan,g.temp2.sensorFault,g.temp3.faults.over,g.temp3.faults.under,g.temp3.faults.chan,g.temp3.sensorFault,g.inlet1Pos.faults.over,g.inlet1Pos.faults.under,g.inlet1Pos.faults.chan,g.inlet2Pos.faults.over,g.inlet2Pos.faults.under,g.inlet2Pos.faults.chan,g.humidity.faults.over,g.humidity.faults.under,g.humidity.faults.chan,g.fdWghLc.faults.over,g.fdWghLc.faults.under,g.fdWghLc.faults.chan,g.staticPrs.faults.over,g.staticPrs.faults.under,g.staticPrs.faults.chan,g.fdHopMaleLc.faults.over,g.fdHopMaleLc.faults.under,g.fdHopMaleLc.faults.chan,atGVL.dynamicAllocationFail,atGVL.arrayOutOfBounds,FeedFemale.mixer.timeoutWhileFilling,FeedFemale.mixer.timeoutWhileDumping,FeedFemale.mixer.noPremixIngredient,g.feedDist.crossAugEnAlm,g.feedDist.waitDistEmptyAlm,g.feedDist.waitValvReadyAlm,FeedMale.mixer.timeoutWhileFilling,FeedMale.mixer.timeoutWhileDumping,FeedMale.mixer.noPremixIngredient,g.pwrFailureLine.faults.chan,g.pwrFailureLine.alm,g.pwrFailureUPS.faults.chan,g.pwrFailureUPS.alm,g.testAlm

## Sheet3
TextList	Id	Default
Device.CR_Barn5.atAlarmDescriptions	_Note_	Import from CSV file
Device.CR_Barn5.atAlarmDescriptions	Feed.mixer.noPremixIngredient	Mixer no premix ingredient set
Device.CR_Barn5.atAlarmDescriptions	Feed.mixer.timeoutWhileDumping	Mixer timeout while dumping
Device.CR_Barn5.atAlarmDescriptions	Feed.mixer.timeoutWhileFilling	Mixer timeout while filling
Device.CR_Barn5.atAlarmDescriptions	g.feedDist.crossAugEnAlm	Cross Auger not enabled
Device.CR_Barn5.atAlarmDescriptions	g.feedDist.waitDistEmptyAlm	Distribution Cross Auger timeout. Distribution hopper is full or sensor not working
Device.CR_Barn5.atAlarmDescriptions	g.feedDist.waitValvReadyAlm	Distribution valve(s) not in position and not ready. Check to make sure they are not stuck
Device.CR_Barn5.atAlarmDescriptions	IO.IOBase_1.out_commFault	IO Base 1 fault
Device.CR_Barn5.atAlarmDescriptions	IO.IOBase_2.out_commFault	IO Base 2 fault
Device.CR_Barn5.atAlarmDescriptions	g.fv1Open.faults.card	Feed valve 1 card fault
Device.CR_Barn5.atAlarmDescriptions	g.fv1Open.faults.chan	Feed valve 1 channel fault
Device.CR_Barn5.atAlarmDescriptions	g.fv1Close.faults.card	Feed valve 1 card fault
Device.CR_Barn5.atAlarmDescriptions	g.fv1Close.faults.chan	Feed valve 1 channel fault
Device.CR_Barn5.atAlarmDescriptions	g.fv2Open.faults.card	Feed valve 2 card fault
Device.CR_Barn5.atAlarmDescriptions	g.fv2Open.faults.chan	Feed valve 2 channel fault
Device.CR_Barn5.atAlarmDescriptions	g.fv2Close.faults.card	Feed valve 2 card fault
Device.CR_Barn5.atAlarmDescriptions	g.fv2Close.faults.chan	Feed valve 2 channel fault
Device.CR_Barn5.atAlarmDescriptions	g.fv3Open.faults.card	Feed valve 3 card fault
Device.CR_Barn5.atAlarmDescriptions	g.fv3Open.faults.chan	Feed valve 3 channel fault
Device.CR_Barn5.atAlarmDescriptions	g.fv3Close.faults.card	Feed valve 3 card fault
Device.CR_Barn5.atAlarmDescriptions	g.fv3Close.faults.chan	Feed valve 3 channel fault
Device.CR_Barn5.atAlarmDescriptions	g.fv4Open.faults.card	Feed valve 4 card fault
Device.CR_Barn5.atAlarmDescriptions	g.fv4Open.faults.chan	Feed valve 4 channel fault
Device.CR_Barn5.atAlarmDescriptions	g.fv4Close.faults.card	Feed valve 4 card fault
Device.CR_Barn5.atAlarmDescriptions	g.fv4Close.faults.chan	Feed valve 4 channel fault
Device.CR_Barn5.atAlarmDescriptions	g.feedMixEmpty.faults.card	Feed mixer Empty card fault
Device.CR_Barn5.atAlarmDescriptions	g.feedMixEmpty.faults.chan	Feed mixer Empty channel fault
Device.CR_Barn5.atAlarmDescriptions	IO.spareDI.faults.card	Spare card fault
Device.CR_Barn5.atAlarmDescriptions	IO.spareDI.faults.chan	Spare channel fault
Device.CR_Barn5.atAlarmDescriptions	g.water.faults.card	g.water.faults.card
Device.CR_Barn5.atAlarmDescriptions	g.water.faults.over	g.water.faults.over
Device.CR_Barn5.atAlarmDescriptions	g.water.faults.under	g.water.faults.under
Device.CR_Barn5.atAlarmDescriptions	g.water.faults.chan	g.water.faults.chan
Device.CR_Barn5.atAlarmDescriptions	g.water.limits.hihi.alm	g.water.limits.hihi.alm
Device.CR_Barn5.atAlarmDescriptions	g.water.limits.hi.alm	g.water.limits.hi.alm
Device.CR_Barn5.atAlarmDescriptions	g.water.limits.lo.alm	g.water.limits.lo.alm
Device.CR_Barn5.atAlarmDescriptions	g.water.limits.lolo.alm	g.water.limits.lolo.alm
Device.CR_Barn5.atAlarmDescriptions	g.sumInletDamper.stalled	g.sumInletDamper.stalled
Device.CR_Barn5.atAlarmDescriptions	g.humidity.faults.card	g.humidity.faults.card
Device.CR_Barn5.atAlarmDescriptions	g.humidity.faults.over	g.humidity.faults.over
Device.CR_Barn5.atAlarmDescriptions	g.humidity.faults.under	g.humidity.faults.under
Device.CR_Barn5.atAlarmDescriptions	g.humidity.faults.chan	g.humidity.faults.chan
Device.CR_Barn5.atAlarmDescriptions	g.humidity.limits.hihi.alm	g.humidity.limits.hihi.alm
Device.CR_Barn5.atAlarmDescriptions	g.humidity.limits.hi.alm	g.humidity.limits.hi.alm
Device.CR_Barn5.atAlarmDescriptions	g.humidity.limits.lo.alm	g.humidity.limits.lo.alm
Device.CR_Barn5.atAlarmDescriptions	g.humidity.limits.lolo.alm	g.humidity.limits.lolo.alm
Device.CR_Barn5.atAlarmDescriptions	g.fdWghLc.limits.hihi.alm	g.fdWghLc.limits.hihi.alm
Device.CR_Barn5.atAlarmDescriptions	g.fdWghLc.limits.hi.alm	g.fdWghLc.limits.hi.alm
Device.CR_Barn5.atAlarmDescriptions	g.fdWghLc.limits.lo.alm	g.fdWghLc.limits.lo.alm
Device.CR_Barn5.atAlarmDescriptions	g.fdWghLc.limits.lolo.alm	g.fdWghLc.limits.lolo.alm
Device.CR_Barn5.atAlarmDescriptions	g.birdSclLc.limits.hihi.alm	g.birdSclLc.limits.hihi.alm
Device.CR_Barn5.atAlarmDescriptions	g.birdSclLc.limits.hi.alm	g.birdSclLc.limits.hi.alm
Device.CR_Barn5.atAlarmDescriptions	g.birdSclLc.limits.lo.alm	g.birdSclLc.limits.lo.alm
Device.CR_Barn5.atAlarmDescriptions	g.birdSclLc.limits.lolo.alm	g.birdSclLc.limits.lolo.alm
Device.CR_Barn5.atAlarmDescriptions	g.staticPrs.faults.card	g.staticPrs.faults.card
Device.CR_Barn5.atAlarmDescriptions	g.staticPrs.faults.over	g.staticPrs.faults.over
Device.CR_Barn5.atAlarmDescriptions	g.staticPrs.faults.under	g.staticPrs.faults.under
Device.CR_Barn5.atAlarmDescriptions	g.staticPrs.faults.chan	g.staticPrs.faults.chan
Device.CR_Barn5.atAlarmDescriptions	g.staticPrs.limits.hihi.alm	g.staticPrs.limits.hihi.alm
Device.CR_Barn5.atAlarmDescriptions	g.staticPrs.limits.hi.alm	g.staticPrs.limits.hi.alm
Device.CR_Barn5.atAlarmDescriptions	g.staticPrs.limits.lo.alm	g.staticPrs.limits.lo.alm
Device.CR_Barn5.atAlarmDescriptions	g.staticPrs.limits.lolo.alm	g.staticPrs.limits.lolo.alm
Device.CR_Barn5.atAlarmDescriptions	IO.spareAI.faults.card	IO.spareAI.faults.card
Device.CR_Barn5.atAlarmDescriptions	IO.spareAI.faults.over	IO.spareAI.faults.over
Device.CR_Barn5.atAlarmDescriptions	IO.spareAI.faults.under	IO.spareAI.faults.under
Device.CR_Barn5.atAlarmDescriptions	IO.spareAI.faults.chan	IO.spareAI.faults.chan
Device.CR_Barn5.atAlarmDescriptions	IO.spareAI.limits.hihi.alm	IO.spareAI.limits.hihi.alm
Device.CR_Barn5.atAlarmDescriptions	IO.spareAI.limits.hi.alm	IO.spareAI.limits.hi.alm
Device.CR_Barn5.atAlarmDescriptions	IO.spareAI.limits.lo.alm	IO.spareAI.limits.lo.alm
Device.CR_Barn5.atAlarmDescriptions	IO.spareAI.limits.lolo.alm	IO.spareAI.limits.lolo.alm
Device.CR_Barn5.atAlarmDescriptions	g.temp1.limits.hihi.alm	g.temp1.limits.hihi.alm
Device.CR_Barn5.atAlarmDescriptions	g.temp1.limits.hi.alm	g.temp1.limits.hi.alm
Device.CR_Barn5.atAlarmDescriptions	g.temp1.limits.lo.alm	g.temp1.limits.lo.alm
Device.CR_Barn5.atAlarmDescriptions	g.temp1.limits.lolo.alm	g.temp1.limits.lolo.alm
Device.CR_Barn5.atAlarmDescriptions	g.temp2.limits.hihi.alm	g.temp2.limits.hihi.alm
Device.CR_Barn5.atAlarmDescriptions	g.temp2.limits.hi.alm	g.temp2.limits.hi.alm
Device.CR_Barn5.atAlarmDescriptions	g.temp2.limits.lo.alm	g.temp2.limits.lo.alm
Device.CR_Barn5.atAlarmDescriptions	g.temp2.limits.lolo.alm	g.temp2.limits.lolo.alm
Device.CR_Barn5.atAlarmDescriptions	g.outTemp.limits.hihi.alm	g.outTemp.limits.hihi.alm
Device.CR_Barn5.atAlarmDescriptions	g.outTemp.limits.hi.alm	g.outTemp.limits.hi.alm
Device.CR_Barn5.atAlarmDescriptions	g.outTemp.limits.lo.alm	g.outTemp.limits.lo.alm
Device.CR_Barn5.atAlarmDescriptions	g.outTemp.limits.lolo.alm	g.outTemp.limits.lolo.alm
Device.CR_Barn5.atAlarmDescriptions	g.temp1.faults.card	g.temp1.faults.card
Device.CR_Barn5.atAlarmDescriptions	g.temp1.faults.over	g.temp1.faults.over
Device.CR_Barn5.atAlarmDescriptions	g.temp1.faults.under	g.temp1.faults.under
Device.CR_Barn5.atAlarmDescriptions	g.temp1.faults.chan	g.temp1.faults.chan
Device.CR_Barn5.atAlarmDescriptions	g.temp2.faults.card	g.temp2.faults.card
Device.CR_Barn5.atAlarmDescriptions	g.temp2.faults.over	g.temp2.faults.over
Device.CR_Barn5.atAlarmDescriptions	g.temp2.faults.under	g.temp2.faults.under
Device.CR_Barn5.atAlarmDescriptions	g.temp2.faults.chan	g.temp2.faults.chan
Device.CR_Barn5.atAlarmDescriptions	g.outTemp.faults.card	g.outTemp.faults.card
Device.CR_Barn5.atAlarmDescriptions	g.outTemp.faults.over	g.outTemp.faults.over
Device.CR_Barn5.atAlarmDescriptions	g.outTemp.faults.under	g.outTemp.faults.under
Device.CR_Barn5.atAlarmDescriptions	g.outTemp.faults.chan	g.outTemp.faults.chan
Device.CR_Barn5.atAlarmDescriptions	g.fdWghLc.faults.card	g.fdWghLc.faults.card
Device.CR_Barn5.atAlarmDescriptions	g.fdWghLc.faults.over	g.fdWghLc.faults.over
Device.CR_Barn5.atAlarmDescriptions	g.fdWghLc.faults.under	g.fdWghLc.faults.under
Device.CR_Barn5.atAlarmDescriptions	g.fdWghLc.faults.chan	g.fdWghLc.faults.chan
Device.CR_Barn5.atAlarmDescriptions	g.birdSclLc.faults.card	g.birdSclLc.faults.card
Device.CR_Barn5.atAlarmDescriptions	g.birdSclLc.faults.over	g.birdSclLc.faults.over
Device.CR_Barn5.atAlarmDescriptions	g.birdSclLc.faults.under	g.birdSclLc.faults.under
Device.CR_Barn5.atAlarmDescriptions	g.birdSclLc.faults.chan	g.birdSclLc.faults.chan
Device.CR_Barn5.atAlarmDescriptions	atGVL.dynamicAllocationFail	atGVL.dynamicAllocationFail
Device.CR_Barn5.atAlarmDescriptions	atGVL.arrayOutOfBounds	atGVL.arrayOutOfBounds
Device.CR_Barn5.atAlarmDescriptions	FeedFemale.mixer.timeoutWhileFilling	FeedFemale.mixer.timeoutWhileFilling
Device.CR_Barn5.atAlarmDescriptions	FeedFemale.mixer.timeoutWhileDumping	FeedFemale.mixer.timeoutWhileDumping
Device.CR_Barn5.atAlarmDescriptions	FeedFemale.mixer.noPremixIngredient	FeedFemale.mixer.noPremixIngredient
Device.CR_Barn5.atAlarmDescriptions	FeedMale.mixer.timeoutWhileFilling	FeedMale.mixer.timeoutWhileFilling
Device.CR_Barn5.atAlarmDescriptions	FeedMale.mixer.timeoutWhileDumping	FeedMale.mixer.timeoutWhileDumping
Device.CR_Barn5.atAlarmDescriptions	FeedMale.mixer.noPremixIngredient	FeedMale.mixer.noPremixIngredient
Device.CR_Barn5.atAlarmDescriptions	IO.bs1_cd1.fault	IO.bs1_cd1.fault
Device.CR_Barn5.atAlarmDescriptions	g.feedMixProxM.faults.chan	g.feedMixProxM.faults.chan
Device.CR_Barn5.atAlarmDescriptions	IO.spareDI.alm	IO.spareDI.alm
Device.CR_Barn5.atAlarmDescriptions	g.waterMtr.fault	g.waterMtr.fault
Device.CR_Barn5.atAlarmDescriptions	IO.bs1_cd2.fault	IO.bs1_cd2.fault
Device.CR_Barn5.atAlarmDescriptions	g.fdVlv1.fault	g.fdVlv1.fault
Device.CR_Barn5.atAlarmDescriptions	g.fdVlv2.fault	g.fdVlv2.fault
Device.CR_Barn5.atAlarmDescriptions	g.fdVlv3.fault	g.fdVlv3.fault
Device.CR_Barn5.atAlarmDescriptions	g.feedAugerMale.fault	g.feedAugerMale.fault
Device.CR_Barn5.atAlarmDescriptions	g.feedLines1n2Female.fault	g.feedLines1n2Female.fault
Device.CR_Barn5.atAlarmDescriptions	g.feedLines3Male.fault	g.feedLines3Male.fault
Device.CR_Barn5.atAlarmDescriptions	g.feedLines4n5Female.fault	g.feedLines4n5Female.fault
Device.CR_Barn5.atAlarmDescriptions	g.feedAuger1.fault	g.feedAuger1.fault
Device.CR_Barn5.atAlarmDescriptions	g.crossAuger.fault	g.crossAuger.fault
Device.CR_Barn5.atAlarmDescriptions	g.feedWghDump.fault	g.feedWghDump.fault
Device.CR_Barn5.atAlarmDescriptions	IO.spareDQ.fault	IO.spareDQ.fault
Device.CR_Barn5.atAlarmDescriptions	IO.bs1_cd3.fault	IO.bs1_cd3.fault
Device.CR_Barn5.atAlarmDescriptions	IO.bs1_cd4.fault	IO.bs1_cd4.fault
Device.CR_Barn5.atAlarmDescriptions	IO.bs2_cd1.fault	IO.bs2_cd1.fault
Device.CR_Barn5.atAlarmDescriptions	IO.bs2_cd2.fault	IO.bs2_cd2.fault
Device.CR_Barn5.atAlarmDescriptions	g.pitFanVar.fault	g.pitFanVar.fault
Device.CR_Barn5.atAlarmDescriptions	g.chimFanVar.fault	g.chimFanVar.fault
Device.CR_Barn5.atAlarmDescriptions	g.circFan1_2Var.fault	g.circFan1_2Var.fault
Device.CR_Barn5.atAlarmDescriptions	g.circFan3_4Var.fault	g.circFan3_4Var.fault
Device.CR_Barn5.atAlarmDescriptions	IO.bs2_cd3.fault	IO.bs2_cd3.fault
Device.CR_Barn5.atAlarmDescriptions	g.lightDimmer.fault	g.lightDimmer.fault
Device.CR_Barn5.atAlarmDescriptions	IO.spareAq.fault	IO.spareAq.fault
Device.CR_Barn5.atAlarmDescriptions	g.varCent.fault	g.varCent.fault
Device.CR_Barn5.atAlarmDescriptions	g.varEastWest.fault	g.varEastWest.fault
Device.CR_Barn5.atAlarmDescriptions	g.inlet1Pos.limits.hihi.alm	g.inlet1Pos.limits.hihi.alm
Device.CR_Barn5.atAlarmDescriptions	g.inlet1Pos.limits.hi.alm	g.inlet1Pos.limits.hi.alm
Device.CR_Barn5.atAlarmDescriptions	g.inlet1Pos.limits.lo.alm	g.inlet1Pos.limits.lo.alm
Device.CR_Barn5.atAlarmDescriptions	g.inlet1Pos.limits.lolo.alm	g.inlet1Pos.limits.lolo.alm
Device.CR_Barn5.atAlarmDescriptions	g.inlet2Pos.limits.hihi.alm	g.inlet2Pos.limits.hihi.alm
Device.CR_Barn5.atAlarmDescriptions	g.inlet2Pos.limits.hi.alm	g.inlet2Pos.limits.hi.alm
Device.CR_Barn5.atAlarmDescriptions	g.inlet2Pos.limits.lo.alm	g.inlet2Pos.limits.lo.alm
Device.CR_Barn5.atAlarmDescriptions	g.inlet2Pos.limits.lolo.alm	g.inlet2Pos.limits.lolo.alm
Device.CR_Barn5.atAlarmDescriptions	g.inlet1Pos.faults.over	g.inlet1Pos.faults.over
Device.CR_Barn5.atAlarmDescriptions	g.inlet1Pos.faults.under	g.inlet1Pos.faults.under
Device.CR_Barn5.atAlarmDescriptions	g.inlet1Pos.faults.chan	g.inlet1Pos.faults.chan
Device.CR_Barn5.atAlarmDescriptions	g.inlet2Pos.faults.over	g.inlet2Pos.faults.over
Device.CR_Barn5.atAlarmDescriptions	g.inlet2Pos.faults.under	g.inlet2Pos.faults.under
Device.CR_Barn5.atAlarmDescriptions	g.inlet2Pos.faults.chan	g.inlet2Pos.faults.chan
Device.Application.atAlarmDescriptions	g.fan_36E.fault	g.fan_36E.fault
Device.Application.atAlarmDescriptions	g.fan_36W.fault	g.fan_36W.fault
Device.Application.atAlarmDescriptions	g.heat.fault	g.heat.fault
Device.Application.atAlarmDescriptions	g.inlet1Open.fault	g.inlet1Open.fault
Device.Application.atAlarmDescriptions	g.inlet1Close.fault	g.inlet1Close.fault
Device.Application.atAlarmDescriptions	g.lights.fault	g.lights.fault
Device.Application.atAlarmDescriptions	g.inlet2Open.fault	g.inlet2Open.fault
Device.Application.atAlarmDescriptions	g.inlet2Close.fault	g.inlet2Close.fault
Device.Application.atAlarmDescriptions	g.waterSol.fault	g.waterSol.fault
Device.Application.atAlarmDescriptions	g.temp1.sensorFault	g.temp1.sensorFault
Device.Application.atAlarmDescriptions	g.temp2.sensorFault	g.temp2.sensorFault
Device.Application.atAlarmDescriptions	g.temp3.faults.over	g.temp3.faults.over
Device.Application.atAlarmDescriptions	g.temp3.faults.under	g.temp3.faults.under
Device.Application.atAlarmDescriptions	g.temp3.faults.chan	g.temp3.faults.chan
Device.Application.atAlarmDescriptions	g.temp3.sensorFault	g.temp3.sensorFault
Device.Application.atAlarmDescriptions	g.temp3.limits.hihi.alm	g.temp3.limits.hihi.alm
Device.Application.atAlarmDescriptions	g.temp3.limits.hi.alm	g.temp3.limits.hi.alm
Device.Application.atAlarmDescriptions	g.temp3.limits.lo.alm	g.temp3.limits.lo.alm
Device.Application.atAlarmDescriptions	g.temp3.limits.lolo.alm	g.temp3.limits.lolo.alm
Device.Application.atAlarmDescriptions	g.fdHopMaleLc.faults.over	g.fdHopMaleLc.faults.over
Device.Application.atAlarmDescriptions	g.fdHopMaleLc.faults.under	g.fdHopMaleLc.faults.under
Device.Application.atAlarmDescriptions	g.fdHopMaleLc.faults.chan	g.fdHopMaleLc.faults.chan
Device.Application.atAlarmDescriptions	g.fdHopMaleLc.limits.hihi.alm	g.fdHopMaleLc.limits.hihi.alm
Device.Application.atAlarmDescriptions	g.fdHopMaleLc.limits.hi.alm	g.fdHopMaleLc.limits.hi.alm
Device.Application.atAlarmDescriptions	g.fdHopMaleLc.limits.lo.alm	g.fdHopMaleLc.limits.lo.alm
Device.Application.atAlarmDescriptions	g.fdHopMaleLc.limits.lolo.alm	g.fdHopMaleLc.limits.lolo.alm