## Alarms
id | description | siteId | deviceId | calculation | updateInterval | message | messageRtn | importanceLevel | latching | delayOn | delayOff | enabled | alarmGroupIds
g_base1_out_systemBusFault_out | IO Base 1 System Bus Fault | lazyb | grain | ¦{register:grain:g_base1_out_systemBusFault_out}¦ | 1 | "Main IO System Bus Faulted" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_base1_card01_fault_out | IO Card 1-01 Fault | lazyb | grain | ¦{register:grain:g_base1_card01_fault_out}¦ | 1 | "Card 1-01 Faulted" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_base1_card02_fault_out | IO Card 1-02 Fault | lazyb | grain | ¦{register:grain:g_base1_card02_fault_out}¦ | 1 | "Card 1-02 Faulted" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_base1_card03_fault_out | IO Card 1-03 Fault | lazyb | grain | ¦{register:grain:g_base1_card03_fault_out}¦ | 1 | "Card 1-03 Faulted" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_base1_card04_fault_out | IO Card 1-04 Fault | lazyb | grain | ¦{register:grain:g_base1_card04_fault_out}¦ | 1 | "Card 1-04 Faulted" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_base1_card05_fault_out | IO Card 1-05 Fault | lazyb | grain | ¦{register:grain:g_base1_card05_fault_out}¦ | 1 | "Card 1-05 Faulted" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_base1_card06_fault_out | IO Card 1-06 Fault | lazyb | grain | ¦{register:grain:g_base1_card06_fault_out}¦ | 1 | "Card 1-06 Faulted" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_base1_card07_fault_out | IO Card 1-07 Fault | lazyb | grain | ¦{register:grain:g_base1_card07_fault_out}¦ | 1 | "Card 1-07 Faulted" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_base1_card08_fault_out | IO Card 1-08 Fault | lazyb | grain | ¦{register:grain:g_base1_card08_fault_out}¦ | 1 | "Card 1-08 Faulted" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_base1_card09_fault_out | IO Card 1-09 Fault | lazyb | grain | ¦{register:grain:g_base1_card09_fault_out}¦ | 1 | "Card 1-09 Faulted" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_base1_card10_fault_out | IO Card 1-10 Fault | lazyb | grain | ¦{register:grain:g_base1_card10_fault_out}¦ | 1 | "Card 1-10 Faulted" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_base1_card11_fault_out | IO Card 1-11 Fault | lazyb | grain | ¦{register:grain:g_base1_card11_fault_out}¦ | 1 | "Card 1-11 Faulted" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_base1_card12_fault_out | IO Card 1-12 Fault | lazyb | grain | ¦{register:grain:g_base1_card12_fault_out}¦ | 1 | "Card 1-12 Faulted" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_base1_card13_fault_out | IO Card 1-13 Fault | lazyb | grain | ¦{register:grain:g_base1_card13_fault_out}¦ | 1 | "Card 1-13 Faulted" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_base1_card14_fault_out | IO Card 1-14 Fault | lazyb | grain | ¦{register:grain:g_base1_card14_fault_out}¦ | 1 | "Card 1-14 Faulted" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
atGVL_dynamicAllocationFail_out | PLC Dynamic Allocation Failure | lazyb | grain | ¦{register:grain:atGVL_dynamicAllocationFail_out}¦ | 1 | "PLC Dynamic Allocation Failure" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
atGVL_arrayOutOfBounds_out | PLC Array Out Of Bounds Fault | lazyb | grain | ¦{register:grain:atGVL_arrayOutOfBounds_out}¦ | 1 | "PLC Array Out Of Bounds Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_esdLoop_faults_chan_out | ESD Loop Channel Fault | lazyb | grain | ¦{register:grain:g_esdLoop_faults_chan_out}¦ | 1 | "ESD Loop Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_esdLoop_alm_out | ESD Loop Alarm | lazyb | grain | ¦{register:grain:g_esdLoop_alm_out}¦ | 1 | "ESD Loop Alarm" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m05LS1_faults_chan_out | Rotary Discharge Bin 13 Limit Switch 1 Channel Fault | lazyb | grain | ¦{register:grain:g_m05LS1_faults_chan_out}¦ | 1 | "Rotary Discharge Bin 13 Limit Switch 1 Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m05LS2_faults_chan_out | Rotary Discharge Bin 13 Limit Switch 2 Channel Fault | lazyb | grain | ¦{register:grain:g_m05LS2_faults_chan_out}¦ | 1 | "Rotary Discharge Bin 13 Limit Switch 2 Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m06LS1_faults_chan_out | Rotary Discharge Bin 14 Limit Switch 1 Channel Fault | lazyb | grain | ¦{register:grain:g_m06LS1_faults_chan_out}¦ | 1 | "Rotary Discharge Bin 14 Limit Switch 1 Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m06LS2_faults_chan_out | Rotary Discharge Bin 14 Limit Switch 2 Channel Fault | lazyb | grain | ¦{register:grain:g_m06LS2_faults_chan_out}¦ | 1 | "Rotary Discharge Bin 14 Limit Switch 2 Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m07LS1_faults_chan_out | Rotary Discharge Bin 15 Limit Switch 1 Channel Fault | lazyb | grain | ¦{register:grain:g_m07LS1_faults_chan_out}¦ | 1 | "Rotary Discharge Bin 15 Limit Switch 1 Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m07LS2_faults_chan_out | Rotary Discharge Bin 15 Limit Switch 2 Channel Fault | lazyb | grain | ¦{register:grain:g_m07LS2_faults_chan_out}¦ | 1 | "Rotary Discharge Bin 15 Limit Switch 2 Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m08LS1_faults_chan_out | Rotary Discharge Bin 16 Limit Switch 1 Channel Fault | lazyb | grain | ¦{register:grain:g_m08LS1_faults_chan_out}¦ | 1 | "Rotary Discharge Bin 16 Limit Switch 1 Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m08LS2_faults_chan_out | Rotary Discharge Bin 16 Limit Switch 2 Channel Fault | lazyb | grain | ¦{register:grain:g_m08LS2_faults_chan_out}¦ | 1 | "Rotary Discharge Bin 16 Limit Switch 2 Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m09LS1_faults_chan_out | Rotary Discharge Bin 17 Limit Switch 1 Channel Fault | lazyb | grain | ¦{register:grain:g_m09LS1_faults_chan_out}¦ | 1 | "Rotary Discharge Bin 17 Limit Switch 1 Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m09LS2_faults_chan_out | Rotary Discharge Bin 17 Limit Switch 2 Channel Fault | lazyb | grain | ¦{register:grain:g_m09LS2_faults_chan_out}¦ | 1 | "Rotary Discharge Bin 17 Limit Switch 2 Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m10LS1_faults_chan_out | Rotary Discharge Bin 18 Limit Switch 1 Channel Fault | lazyb | grain | ¦{register:grain:g_m10LS1_faults_chan_out}¦ | 1 | "Rotary Discharge Bin 18 Limit Switch 1 Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m10LS2_faults_chan_out | Rotary Discharge Bin 18 Limit Switch 2 Channel Fault | lazyb | grain | ¦{register:grain:g_m10LS2_faults_chan_out}¦ | 1 | "Rotary Discharge Bin 18 Limit Switch 2 Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m11LS1_faults_chan_out | Rotary Discharge Bin 19 Limit Switch 1 Channel Fault | lazyb | grain | ¦{register:grain:g_m11LS1_faults_chan_out}¦ | 1 | "Rotary Discharge Bin 19 Limit Switch 1 Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m11LS2_faults_chan_out | Rotary Discharge Bin 19 Limit Switch 2 Channel Fault | lazyb | grain | ¦{register:grain:g_m11LS2_faults_chan_out}¦ | 1 | "Rotary Discharge Bin 19 Limit Switch 2 Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m12LS1_faults_chan_out | Rotary Discharge Bin 20 Limit Switch 1 Channel Fault | lazyb | grain | ¦{register:grain:g_m12LS1_faults_chan_out}¦ | 1 | "Rotary Discharge Bin 20 Limit Switch 1 Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m12LS2_faults_chan_out | Rotary Discharge Bin 20 Limit Switch 2 Channel Fault | lazyb | grain | ¦{register:grain:g_m12LS2_faults_chan_out}¦ | 1 | "Rotary Discharge Bin 20 Limit Switch 2 Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m32_01LS1_faults_chan_out | 3 Way Valve Limit Switch 1 Channel Fault | lazyb | grain | ¦{register:grain:g_m32_01LS1_faults_chan_out}¦ | 1 | "3 Way Valve Limit Switch 1 Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m32_01LS2_faults_chan_out | 3 Way Valve Limit Switch 2 Channel Fault | lazyb | grain | ¦{register:grain:g_m32_01LS2_faults_chan_out}¦ | 1 | "3 Way Valve Limit Switch 2 Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m32_02LS1_faults_chan_out | 3 Way Valve Limit Switch 1 Channel Fault | lazyb | grain | ¦{register:grain:g_m32_02LS1_faults_chan_out}¦ | 1 | "3 Way Valve Limit Switch 1 Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m32_02LS2_faults_chan_out | 3 Way Valve Limit Switch 2 Channel Fault | lazyb | grain | ¦{register:grain:g_m32_02LS2_faults_chan_out}¦ | 1 | "3 Way Valve Limit Switch 2 Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m51BinSns_faults_chan_out | Bin Fan 13 Sensor Channel Fault | lazyb | grain | ¦{register:grain:g_m51BinSns_faults_chan_out}¦ | 1 | "Bin Fan 13 Sensor Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m52BinSns_faults_chan_out | Bin Fan 14 Sensor Channel Fault | lazyb | grain | ¦{register:grain:g_m52BinSns_faults_chan_out}¦ | 1 | "Bin Fan 14 Sensor Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m53BinSns_faults_chan_out | Bin Fan 15 Sensor Channel Fault | lazyb | grain | ¦{register:grain:g_m53BinSns_faults_chan_out}¦ | 1 | "Bin Fan 15 Sensor Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m54BinSns_faults_chan_out | Bin Fan 16 Sensor Channel Fault | lazyb | grain | ¦{register:grain:g_m54BinSns_faults_chan_out}¦ | 1 | "Bin Fan 16 Sensor Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m55BinSns_faults_chan_out | Bin Fan 17 Sensor Channel Fault | lazyb | grain | ¦{register:grain:g_m55BinSns_faults_chan_out}¦ | 1 | "Bin Fan 17 Sensor Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m56BinSns_faults_chan_out | Bin Fan 18 Sensor Channel Fault | lazyb | grain | ¦{register:grain:g_m56BinSns_faults_chan_out}¦ | 1 | "Bin Fan 18 Sensor Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m57BinSns_faults_chan_out | Bin Fan 19 Sensor Channel Fault | lazyb | grain | ¦{register:grain:g_m57BinSns_faults_chan_out}¦ | 1 | "Bin Fan 19 Sensor Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m58BinSns_faults_chan_out | Bin Fan 20 Sensor Channel Fault | lazyb | grain | ¦{register:grain:g_m58BinSns_faults_chan_out}¦ | 1 | "Bin Fan 20 Sensor Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m31LSHH_faults_chan_out | Reclaim Grain Pump High-High Level Switch Channel Fault | lazyb | grain | ¦{register:grain:g_m31LSHH_faults_chan_out}¦ | 1 | "Reclaim Grain Pump High-High Level Switch Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m31LSHH_alm_out | Reclaim Grain Pump High-High Level Alarm | lazyb | grain | ¦{register:grain:g_m31LSHH_alm_out}¦ | 1 | "Reclaim Grain Pump High-High Level Alarm" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_pbRecSrt_faults_chan_out | Receiving Start Pushbutton Channel Fault | lazyb | grain | ¦{register:grain:g_pbRecSrt_faults_chan_out}¦ | 1 | "Receiving Start Pushbutton Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_pbRecStp_faults_chan_out | Receiving Stop Pushbutton Channel Fault | lazyb | grain | ¦{register:grain:g_pbRecStp_faults_chan_out}¦ | 1 | "Receiving Stop Pushbutton Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_pbRecRpdStp_faults_chan_out | Receiving Rapid Stop Pushbutton Channel Fault | lazyb | grain | ¦{register:grain:g_pbRecRpdStp_faults_chan_out}¦ | 1 | "Receiving Rapid Stop Pushbutton Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_pbRclRpdStp_faults_chan_out | Reclaim Rapid Stop Pushbutton Channel Fault | lazyb | grain | ¦{register:grain:g_pbRclRpdStp_faults_chan_out}¦ | 1 | "Reclaim Rapid Stop Pushbutton Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_pbLdRpdStp_faults_chan_out | Loadout Rapid Stop Pushbutton Channel Fault | lazyb | grain | ¦{register:grain:g_pbLdRpdStp_faults_chan_out}¦ | 1 | "Loadout Rapid Stop Pushbutton Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m01Ovld_faults_chan_out | Truck Drag Overload Channel Fault | lazyb | grain | ¦{register:grain:g_m01Ovld_faults_chan_out}¦ | 1 | "Truck Drag Overload Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m01Ovld_alm_out | Truck Drag Overload | lazyb | grain | ¦{register:grain:g_m01Ovld_alm_out}¦ | 1 | "Truck Drag Overload" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m02Ovld_faults_chan_out | Receiving Drag Overload Channel Fault | lazyb | grain | ¦{register:grain:g_m02Ovld_faults_chan_out}¦ | 1 | "Receiving Drag Overload Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m02Ovld_alm_out | Receiving Drag Overload | lazyb | grain | ¦{register:grain:g_m02Ovld_alm_out}¦ | 1 | "Receiving Drag Overload" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m03Ovld_faults_chan_out | Receiving Grain Pump Overload Channel Fault | lazyb | grain | ¦{register:grain:g_m03Ovld_faults_chan_out}¦ | 1 | "Receiving Grain Pump Overload Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m03Ovld_alm_out | Receiving Grain Pump Overload | lazyb | grain | ¦{register:grain:g_m03Ovld_alm_out}¦ | 1 | "Receiving Grain Pump Overload" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m04_01Ovld_faults_chan_out | Distribution Grain Loop (Motor 1) Overload Channel Fault | lazyb | grain | ¦{register:grain:g_m04_01Ovld_faults_chan_out}¦ | 1 | "Distribution Grain Loop (Motor 1) Overload Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m04_01Ovld_alm_out | Distribution Grain Loop (Motor 1) Overload | lazyb | grain | ¦{register:grain:g_m04_01Ovld_alm_out}¦ | 1 | "Distribution Grain Loop (Motor 1) Overload" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m04_02Ovld_faults_chan_out | Distribution Grain Loop (Motor 2) Overload Channel Fault | lazyb | grain | ¦{register:grain:g_m04_02Ovld_faults_chan_out}¦ | 1 | "Distribution Grain Loop (Motor 2) Overload Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m04_02Ovld_alm_out | Distribution Grain Loop (Motor 2) Overload | lazyb | grain | ¦{register:grain:g_m04_02Ovld_alm_out}¦ | 1 | "Distribution Grain Loop (Motor 2) Overload" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m05Ovld_faults_chan_out | Rotary Discharge Bin 13 Overload Channel Fault | lazyb | grain | ¦{register:grain:g_m05Ovld_faults_chan_out}¦ | 1 | "Rotary Discharge Bin 13 Overload Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m05Ovld_alm_out | Rotary Discharge Bin 13 Overload | lazyb | grain | ¦{register:grain:g_m05Ovld_alm_out}¦ | 1 | "Rotary Discharge Bin 13 Overload" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m06Ovld_faults_chan_out | Rotary Discharge Bin 14 Overload Channel Fault | lazyb | grain | ¦{register:grain:g_m06Ovld_faults_chan_out}¦ | 1 | "Rotary Discharge Bin 14 Overload Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m06Ovld_alm_out | Rotary Discharge Bin 14 Overload | lazyb | grain | ¦{register:grain:g_m06Ovld_alm_out}¦ | 1 | "Rotary Discharge Bin 14 Overload" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m07Ovld_faults_chan_out | Rotary Discharge Bin 15 Overload Channel Fault | lazyb | grain | ¦{register:grain:g_m07Ovld_faults_chan_out}¦ | 1 | "Rotary Discharge Bin 15 Overload Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m07Ovld_alm_out | Rotary Discharge Bin 15 Overload | lazyb | grain | ¦{register:grain:g_m07Ovld_alm_out}¦ | 1 | "Rotary Discharge Bin 15 Overload" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m08Ovld_faults_chan_out | Rotary Discharge Bin 16 Overload Channel Fault | lazyb | grain | ¦{register:grain:g_m08Ovld_faults_chan_out}¦ | 1 | "Rotary Discharge Bin 16 Overload Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m08Ovld_alm_out | Rotary Discharge Bin 16 Overload | lazyb | grain | ¦{register:grain:g_m08Ovld_alm_out}¦ | 1 | "Rotary Discharge Bin 16 Overload" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m09Ovld_faults_chan_out | Rotary Discharge Bin 17 Overload Channel Fault | lazyb | grain | ¦{register:grain:g_m09Ovld_faults_chan_out}¦ | 1 | "Rotary Discharge Bin 17 Overload Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m09Ovld_alm_out | Rotary Discharge Bin 17 Overload | lazyb | grain | ¦{register:grain:g_m09Ovld_alm_out}¦ | 1 | "Rotary Discharge Bin 17 Overload" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m10Ovld_faults_chan_out | Rotary Discharge Bin 18 Overload Channel Fault | lazyb | grain | ¦{register:grain:g_m10Ovld_faults_chan_out}¦ | 1 | "Rotary Discharge Bin 18 Overload Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m10Ovld_alm_out | Rotary Discharge Bin 18 Overload | lazyb | grain | ¦{register:grain:g_m10Ovld_alm_out}¦ | 1 | "Rotary Discharge Bin 18 Overload" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m11Ovld_faults_chan_out | Rotary Discharge Bin 19 Overload Channel Fault | lazyb | grain | ¦{register:grain:g_m11Ovld_faults_chan_out}¦ | 1 | "Rotary Discharge Bin 19 Overload Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m11Ovld_alm_out | Rotary Discharge Bin 19 Overload | lazyb | grain | ¦{register:grain:g_m11Ovld_alm_out}¦ | 1 | "Rotary Discharge Bin 19 Overload" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m12Ovld_faults_chan_out | Rotary Discharge Bin 20 Overload Channel Fault | lazyb | grain | ¦{register:grain:g_m12Ovld_faults_chan_out}¦ | 1 | "Rotary Discharge Bin 20 Overload Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m12Ovld_alm_out | Rotary Discharge Bin 20 Overload | lazyb | grain | ¦{register:grain:g_m12Ovld_alm_out}¦ | 1 | "Rotary Discharge Bin 20 Overload" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m21Ovld_faults_chan_out | Reclaim Auger Bin 13 Overload Channel Fault | lazyb | grain | ¦{register:grain:g_m21Ovld_faults_chan_out}¦ | 1 | "Reclaim Auger Bin 13 Overload Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m21Ovld_alm_out | Reclaim Auger Bin 13 Overload | lazyb | grain | ¦{register:grain:g_m21Ovld_alm_out}¦ | 1 | "Reclaim Auger Bin 13 Overload" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m22Ovld_faults_chan_out | Reclaim Auger Bin 14 Overload Channel Fault | lazyb | grain | ¦{register:grain:g_m22Ovld_faults_chan_out}¦ | 1 | "Reclaim Auger Bin 14 Overload Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m22Ovld_alm_out | Reclaim Auger Bin 14 Overload | lazyb | grain | ¦{register:grain:g_m22Ovld_alm_out}¦ | 1 | "Reclaim Auger Bin 14 Overload" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m23Ovld_faults_chan_out | Reclaim Auger Bin 15 Overload Channel Fault | lazyb | grain | ¦{register:grain:g_m23Ovld_faults_chan_out}¦ | 1 | "Reclaim Auger Bin 15 Overload Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m23Ovld_alm_out | Reclaim Auger Bin 15 Overload | lazyb | grain | ¦{register:grain:g_m23Ovld_alm_out}¦ | 1 | "Reclaim Auger Bin 15 Overload" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m24Ovld_faults_chan_out | Reclaim Auger Bin 16 Overload Channel Fault | lazyb | grain | ¦{register:grain:g_m24Ovld_faults_chan_out}¦ | 1 | "Reclaim Auger Bin 16 Overload Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m24Ovld_alm_out | Reclaim Auger Bin 16 Overload | lazyb | grain | ¦{register:grain:g_m24Ovld_alm_out}¦ | 1 | "Reclaim Auger Bin 16 Overload" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m25Ovld_faults_chan_out | Reclaim Auger Bin 17 Overload Channel Fault | lazyb | grain | ¦{register:grain:g_m25Ovld_faults_chan_out}¦ | 1 | "Reclaim Auger Bin 17 Overload Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m25Ovld_alm_out | Reclaim Auger Bin 17 Overload | lazyb | grain | ¦{register:grain:g_m25Ovld_alm_out}¦ | 1 | "Reclaim Auger Bin 17 Overload" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m26Ovld_faults_chan_out | Reclaim Auger Bin 18 Overload Channel Fault | lazyb | grain | ¦{register:grain:g_m26Ovld_faults_chan_out}¦ | 1 | "Reclaim Auger Bin 18 Overload Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m26Ovld_alm_out | Reclaim Auger Bin 18 Overload | lazyb | grain | ¦{register:grain:g_m26Ovld_alm_out}¦ | 1 | "Reclaim Auger Bin 18 Overload" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m27Ovld_faults_chan_out | Reclaim Auger Bin 19 Overload Channel Fault | lazyb | grain | ¦{register:grain:g_m27Ovld_faults_chan_out}¦ | 1 | "Reclaim Auger Bin 19 Overload Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m27Ovld_alm_out | Reclaim Auger Bin 19 Overload | lazyb | grain | ¦{register:grain:g_m27Ovld_alm_out}¦ | 1 | "Reclaim Auger Bin 19 Overload" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m28Ovld_faults_chan_out | Reclaim Auger Bin 20 Overload Channel Fault | lazyb | grain | ¦{register:grain:g_m28Ovld_faults_chan_out}¦ | 1 | "Reclaim Auger Bin 20 Overload Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m28Ovld_alm_out | Reclaim Auger Bin 20 Overload | lazyb | grain | ¦{register:grain:g_m28Ovld_alm_out}¦ | 1 | "Reclaim Auger Bin 20 Overload" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m29Ovld_faults_chan_out | Reclaim Drag North Overload Channel Fault | lazyb | grain | ¦{register:grain:g_m29Ovld_faults_chan_out}¦ | 1 | "Reclaim Drag North Overload Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m29Ovld_alm_out | Reclaim Drag North Overload | lazyb | grain | ¦{register:grain:g_m29Ovld_alm_out}¦ | 1 | "Reclaim Drag North Overload" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m30Ovld_faults_chan_out | Reclaim Drag South Overload Channel Fault | lazyb | grain | ¦{register:grain:g_m30Ovld_faults_chan_out}¦ | 1 | "Reclaim Drag South Overload Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m30Ovld_alm_out | Reclaim Drag South Overload | lazyb | grain | ¦{register:grain:g_m30Ovld_alm_out}¦ | 1 | "Reclaim Drag South Overload" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m31Ovld_faults_chan_out | Reclaim Grain Pump Overload Channel Fault | lazyb | grain | ¦{register:grain:g_m31Ovld_faults_chan_out}¦ | 1 | "Reclaim Grain Pump Overload Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m31Ovld_alm_out | Reclaim Grain Pump Overload | lazyb | grain | ¦{register:grain:g_m31Ovld_alm_out}¦ | 1 | "Reclaim Grain Pump Overload" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m32_01Ovld_faults_chan_out | 3 Way Valve Overload Channel Fault | lazyb | grain | ¦{register:grain:g_m32_01Ovld_faults_chan_out}¦ | 1 | "3 Way Valve Overload Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m32_01Ovld_alm_out | 3 Way Valve Overload | lazyb | grain | ¦{register:grain:g_m32_01Ovld_alm_out}¦ | 1 | "3 Way Valve Overload" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m32_02Ovld_faults_chan_out | 3 Way Valve Overload Channel Fault | lazyb | grain | ¦{register:grain:g_m32_02Ovld_faults_chan_out}¦ | 1 | "3 Way Valve Overload Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m32_02Ovld_alm_out | 3 Way Valve Overload | lazyb | grain | ¦{register:grain:g_m32_02Ovld_alm_out}¦ | 1 | "3 Way Valve Overload" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m41Ovld_faults_chan_out | Loadout Gate Overload Channel Fault | lazyb | grain | ¦{register:grain:g_m41Ovld_faults_chan_out}¦ | 1 | "Loadout Gate Overload Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m41Ovld_alm_out | Loadout Gate Overload | lazyb | grain | ¦{register:grain:g_m41Ovld_alm_out}¦ | 1 | "Loadout Gate Overload" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m51Ovld_faults_chan_out | Bin Fan 13 Overload Channel Fault | lazyb | grain | ¦{register:grain:g_m51Ovld_faults_chan_out}¦ | 1 | "Bin Fan 13 Overload Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m51Ovld_alm_out | Bin Fan 13 Overload | lazyb | grain | ¦{register:grain:g_m51Ovld_alm_out}¦ | 1 | "Bin Fan 13 Overload" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m52Ovld_faults_chan_out | Bin Fan 14 Overload Channel Fault | lazyb | grain | ¦{register:grain:g_m52Ovld_faults_chan_out}¦ | 1 | "Bin Fan 14 Overload Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m52Ovld_alm_out | Bin Fan 14 Overload | lazyb | grain | ¦{register:grain:g_m52Ovld_alm_out}¦ | 1 | "Bin Fan 14 Overload" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m53Ovld_faults_chan_out | Bin Fan 15 Overload Channel Fault | lazyb | grain | ¦{register:grain:g_m53Ovld_faults_chan_out}¦ | 1 | "Bin Fan 15 Overload Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m53Ovld_alm_out | Bin Fan 15 Overload | lazyb | grain | ¦{register:grain:g_m53Ovld_alm_out}¦ | 1 | "Bin Fan 15 Overload" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m54Ovld_faults_chan_out | Bin Fan 16 Overload Channel Fault | lazyb | grain | ¦{register:grain:g_m54Ovld_faults_chan_out}¦ | 1 | "Bin Fan 16 Overload Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m54Ovld_alm_out | Bin Fan 16 Overload | lazyb | grain | ¦{register:grain:g_m54Ovld_alm_out}¦ | 1 | "Bin Fan 16 Overload" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m55Ovld_faults_chan_out | Bin Fan 17 Overload Channel Fault | lazyb | grain | ¦{register:grain:g_m55Ovld_faults_chan_out}¦ | 1 | "Bin Fan 17 Overload Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m55Ovld_alm_out | Bin Fan 17 Overload | lazyb | grain | ¦{register:grain:g_m55Ovld_alm_out}¦ | 1 | "Bin Fan 17 Overload" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m56Ovld_faults_chan_out | Bin Fan 18 Overload Channel Fault | lazyb | grain | ¦{register:grain:g_m56Ovld_faults_chan_out}¦ | 1 | "Bin Fan 18 Overload Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m56Ovld_alm_out | Bin Fan 18 Overload | lazyb | grain | ¦{register:grain:g_m56Ovld_alm_out}¦ | 1 | "Bin Fan 18 Overload" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m57Ovld_faults_chan_out | Bin Fan 19 Overload Channel Fault | lazyb | grain | ¦{register:grain:g_m57Ovld_faults_chan_out}¦ | 1 | "Bin Fan 19 Overload Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m57Ovld_alm_out | Bin Fan 19 Overload | lazyb | grain | ¦{register:grain:g_m57Ovld_alm_out}¦ | 1 | "Bin Fan 19 Overload" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m58Ovld_faults_chan_out | Bin Fan 20 Overload Channel Fault | lazyb | grain | ¦{register:grain:g_m58Ovld_faults_chan_out}¦ | 1 | "Bin Fan 20 Overload Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m58Ovld_alm_out | Bin Fan 20 Overload | lazyb | grain | ¦{register:grain:g_m58Ovld_alm_out}¦ | 1 | "Bin Fan 20 Overload" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m02RunCmd_fault_out | Receiving Drag Run Command Fault | lazyb | grain | ¦{register:grain:g_m02RunCmd_fault_out}¦ | 1 | "Receiving Drag Run Command Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m05CloseCmd_fault_out | Rotary Discharge Bin 13 Close Command Fault | lazyb | grain | ¦{register:grain:g_m05CloseCmd_fault_out}¦ | 1 | "Rotary Discharge Bin 13 Close Command Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m05OpenCmd_fault_out | Rotary Discharge Bin 13 Open Command Fault | lazyb | grain | ¦{register:grain:g_m05OpenCmd_fault_out}¦ | 1 | "Rotary Discharge Bin 13 Open Command Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m06CloseCmd_fault_out | Rotary Discharge Bin 14 Close Command Fault | lazyb | grain | ¦{register:grain:g_m06CloseCmd_fault_out}¦ | 1 | "Rotary Discharge Bin 14 Close Command Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m06OpenCmd_fault_out | Rotary Discharge Bin 14 Open Command Fault | lazyb | grain | ¦{register:grain:g_m06OpenCmd_fault_out}¦ | 1 | "Rotary Discharge Bin 14 Open Command Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m07CloseCmd_fault_out | Rotary Discharge Bin 15 Close Command Fault | lazyb | grain | ¦{register:grain:g_m07CloseCmd_fault_out}¦ | 1 | "Rotary Discharge Bin 15 Close Command Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m07OpenCmd_fault_out | Rotary Discharge Bin 15 Open Command Fault | lazyb | grain | ¦{register:grain:g_m07OpenCmd_fault_out}¦ | 1 | "Rotary Discharge Bin 15 Open Command Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m08CloseCmd_fault_out | Rotary Discharge Bin 16 Close Command Fault | lazyb | grain | ¦{register:grain:g_m08CloseCmd_fault_out}¦ | 1 | "Rotary Discharge Bin 16 Close Command Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m08OpenCmd_fault_out | Rotary Discharge Bin 16 Open Command Fault | lazyb | grain | ¦{register:grain:g_m08OpenCmd_fault_out}¦ | 1 | "Rotary Discharge Bin 16 Open Command Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m09CloseCmd_fault_out | Rotary Discharge Bin 17 Close Command Fault | lazyb | grain | ¦{register:grain:g_m09CloseCmd_fault_out}¦ | 1 | "Rotary Discharge Bin 17 Close Command Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m09OpenCmd_fault_out | Rotary Discharge Bin 17 Open Command Fault | lazyb | grain | ¦{register:grain:g_m09OpenCmd_fault_out}¦ | 1 | "Rotary Discharge Bin 17 Open Command Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m10CloseCmd_fault_out | Rotary Discharge Bin 18 Close Command Fault | lazyb | grain | ¦{register:grain:g_m10CloseCmd_fault_out}¦ | 1 | "Rotary Discharge Bin 18 Close Command Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m10OpenCmd_fault_out | Rotary Discharge Bin 18 Open Command Fault | lazyb | grain | ¦{register:grain:g_m10OpenCmd_fault_out}¦ | 1 | "Rotary Discharge Bin 18 Open Command Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m11CloseCmd_fault_out | Rotary Discharge Bin 19 Close Command Fault | lazyb | grain | ¦{register:grain:g_m11CloseCmd_fault_out}¦ | 1 | "Rotary Discharge Bin 19 Close Command Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m11OpenCmd_fault_out | Rotary Discharge Bin 19 Open Command Fault | lazyb | grain | ¦{register:grain:g_m11OpenCmd_fault_out}¦ | 1 | "Rotary Discharge Bin 19 Open Command Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m12CloseCmd_fault_out | Rotary Discharge Bin 20 Close Command Fault | lazyb | grain | ¦{register:grain:g_m12CloseCmd_fault_out}¦ | 1 | "Rotary Discharge Bin 20 Close Command Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m12OpenCmd_fault_out | Rotary Discharge Bin 20 Open Command Fault | lazyb | grain | ¦{register:grain:g_m12OpenCmd_fault_out}¦ | 1 | "Rotary Discharge Bin 20 Open Command Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m21RunCmd_fault_out | Reclaim Auger Bin 13 Run Command Fault | lazyb | grain | ¦{register:grain:g_m21RunCmd_fault_out}¦ | 1 | "Reclaim Auger Bin 13 Run Command Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m22RunCmd_fault_out | Reclaim Auger Bin 14 Run Command Fault | lazyb | grain | ¦{register:grain:g_m22RunCmd_fault_out}¦ | 1 | "Reclaim Auger Bin 14 Run Command Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m23RunCmd_fault_out | Reclaim Auger Bin 15 Run Command Fault | lazyb | grain | ¦{register:grain:g_m23RunCmd_fault_out}¦ | 1 | "Reclaim Auger Bin 15 Run Command Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m24RunCmd_fault_out | Reclaim Auger Bin 16 Run Command Fault | lazyb | grain | ¦{register:grain:g_m24RunCmd_fault_out}¦ | 1 | "Reclaim Auger Bin 16 Run Command Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m25RunCmd_fault_out | Reclaim Auger Bin 17 Run Command Fault | lazyb | grain | ¦{register:grain:g_m25RunCmd_fault_out}¦ | 1 | "Reclaim Auger Bin 17 Run Command Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m26RunCmd_fault_out | Reclaim Auger Bin 18 Run Command Fault | lazyb | grain | ¦{register:grain:g_m26RunCmd_fault_out}¦ | 1 | "Reclaim Auger Bin 18 Run Command Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m27RunCmd_fault_out | Reclaim Auger Bin 19 Run Command Fault | lazyb | grain | ¦{register:grain:g_m27RunCmd_fault_out}¦ | 1 | "Reclaim Auger Bin 19 Run Command Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m28RunCmd_fault_out | Reclaim Auger Bin 20 Run Command Fault | lazyb | grain | ¦{register:grain:g_m28RunCmd_fault_out}¦ | 1 | "Reclaim Auger Bin 20 Run Command Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m29RunCmd_fault_out | Reclaim Drag North Run Command Fault | lazyb | grain | ¦{register:grain:g_m29RunCmd_fault_out}¦ | 1 | "Reclaim Drag North Run Command Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m30RunCmd_fault_out | Reclaim Drag South Run Command Fault | lazyb | grain | ¦{register:grain:g_m30RunCmd_fault_out}¦ | 1 | "Reclaim Drag South Run Command Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m32_01CloseCmd_fault_out | 3 Way Valve Close Command Fault | lazyb | grain | ¦{register:grain:g_m32_01CloseCmd_fault_out}¦ | 1 | "3 Way Valve Close Command Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m32_01OpenCmd_fault_out | 3 Way Valve Open Command Fault | lazyb | grain | ¦{register:grain:g_m32_01OpenCmd_fault_out}¦ | 1 | "3 Way Valve Open Command Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m32_02CloseCmd_fault_out | 3 Way Valve Close Command Fault | lazyb | grain | ¦{register:grain:g_m32_02CloseCmd_fault_out}¦ | 1 | "3 Way Valve Close Command Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m32_02OpenCmd_fault_out | 3 Way Valve Open Command Fault | lazyb | grain | ¦{register:grain:g_m32_02OpenCmd_fault_out}¦ | 1 | "3 Way Valve Open Command Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m51RunCmd_fault_out | Bin Fan 13 Run Command Fault | lazyb | grain | ¦{register:grain:g_m51RunCmd_fault_out}¦ | 1 | "Bin Fan 13 Run Command Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m52RunCmd_fault_out | Bin Fan 14 Run Command Fault | lazyb | grain | ¦{register:grain:g_m52RunCmd_fault_out}¦ | 1 | "Bin Fan 14 Run Command Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m53RunCmd_fault_out | Bin Fan 15 Run Command Fault | lazyb | grain | ¦{register:grain:g_m53RunCmd_fault_out}¦ | 1 | "Bin Fan 15 Run Command Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m54RunCmd_fault_out | Bin Fan 16 Run Command Fault | lazyb | grain | ¦{register:grain:g_m54RunCmd_fault_out}¦ | 1 | "Bin Fan 16 Run Command Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m55RunCmd_fault_out | Bin Fan 17 Run Command Fault | lazyb | grain | ¦{register:grain:g_m55RunCmd_fault_out}¦ | 1 | "Bin Fan 17 Run Command Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m56RunCmd_fault_out | Bin Fan 18 Run Command Fault | lazyb | grain | ¦{register:grain:g_m56RunCmd_fault_out}¦ | 1 | "Bin Fan 18 Run Command Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m57RunCmd_fault_out | Bin Fan 19 Run Command Fault | lazyb | grain | ¦{register:grain:g_m57RunCmd_fault_out}¦ | 1 | "Bin Fan 19 Run Command Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_m58RunCmd_fault_out | Bin Fan 20 Run Command Fault | lazyb | grain | ¦{register:grain:g_m58RunCmd_fault_out}¦ | 1 | "Bin Fan 20 Run Command Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_recRdyLite_fault_out | Receiving Ready Light Output Fault | lazyb | grain | ¦{register:grain:g_recRdyLite_fault_out}¦ | 1 | "Receiving Ready Light Output Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_recFltLite_fault_out | Receiving Fault Light Output Fault | lazyb | grain | ¦{register:grain:g_recFltLite_fault_out}¦ | 1 | "Receiving Fault Light Output Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin13Lvl_faults_over_out | Bin 13 Level Sensor Overrange Fault | lazyb | grain | ¦{register:grain:g_bin13Lvl_faults_over_out}¦ | 1 | "Bin 13 Level Sensor Overrange Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin13Lvl_faults_under_out | Bin 13 Level Sensor Underrange Fault | lazyb | grain | ¦{register:grain:g_bin13Lvl_faults_under_out}¦ | 1 | "Bin 13 Level Sensor Underrange Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin13Lvl_faults_chan_out | Bin 13 Level Sensor Channel Fault | lazyb | grain | ¦{register:grain:g_bin13Lvl_faults_chan_out}¦ | 1 | "Bin 13 Level Sensor Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin13Lvl_limits_hihi_alm_out | Bin 13 Level High-High Alarm | lazyb | grain | ¦{register:grain:g_bin13Lvl_limits_hihi_alm_out}¦ | 1 | "Bin 13 Level High-High Alarm" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin13Lvl_limits_hi_alm_out | Bin 13 Level High Alarm | lazyb | grain | ¦{register:grain:g_bin13Lvl_limits_hi_alm_out}¦ | 1 | "Bin 13 Level High Alarm" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin13Lvl_limits_lo_alm_out | Bin 13 Level Low Alarm | lazyb | grain | ¦{register:grain:g_bin13Lvl_limits_lo_alm_out}¦ | 1 | "Bin 13 Level Low Alarm" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin13Lvl_limits_lolo_alm_out | Bin 13 Level Low-Low Alarm | lazyb | grain | ¦{register:grain:g_bin13Lvl_limits_lolo_alm_out}¦ | 1 | "Bin 13 Level Low-Low Alarm" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin14Lvl_faults_over_out | Bin 14 Level Sensor Overrange Fault | lazyb | grain | ¦{register:grain:g_bin14Lvl_faults_over_out}¦ | 1 | "Bin 14 Level Sensor Overrange Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin14Lvl_faults_under_out | Bin 14 Level Sensor Underrange Fault | lazyb | grain | ¦{register:grain:g_bin14Lvl_faults_under_out}¦ | 1 | "Bin 14 Level Sensor Underrange Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin14Lvl_faults_chan_out | Bin 14 Level Sensor Channel Fault | lazyb | grain | ¦{register:grain:g_bin14Lvl_faults_chan_out}¦ | 1 | "Bin 14 Level Sensor Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin14Lvl_limits_hihi_alm_out | Bin 14 Level High-High Alarm | lazyb | grain | ¦{register:grain:g_bin14Lvl_limits_hihi_alm_out}¦ | 1 | "Bin 14 Level High-High Alarm" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin14Lvl_limits_hi_alm_out | Bin 14 Level High Alarm | lazyb | grain | ¦{register:grain:g_bin14Lvl_limits_hi_alm_out}¦ | 1 | "Bin 14 Level High Alarm" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin14Lvl_limits_lo_alm_out | Bin 14 Level Low Alarm | lazyb | grain | ¦{register:grain:g_bin14Lvl_limits_lo_alm_out}¦ | 1 | "Bin 14 Level Low Alarm" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin14Lvl_limits_lolo_alm_out | Bin 14 Level Low-Low Alarm | lazyb | grain | ¦{register:grain:g_bin14Lvl_limits_lolo_alm_out}¦ | 1 | "Bin 14 Level Low-Low Alarm" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin15Lvl_faults_over_out | Bin 15 Level Sensor Overrange Fault | lazyb | grain | ¦{register:grain:g_bin15Lvl_faults_over_out}¦ | 1 | "Bin 15 Level Sensor Overrange Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin15Lvl_faults_under_out | Bin 15 Level Sensor Underrange Fault | lazyb | grain | ¦{register:grain:g_bin15Lvl_faults_under_out}¦ | 1 | "Bin 15 Level Sensor Underrange Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin15Lvl_faults_chan_out | Bin 15 Level Sensor Channel Fault | lazyb | grain | ¦{register:grain:g_bin15Lvl_faults_chan_out}¦ | 1 | "Bin 15 Level Sensor Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin15Lvl_limits_hihi_alm_out | Bin 15 Level High-High Alarm | lazyb | grain | ¦{register:grain:g_bin15Lvl_limits_hihi_alm_out}¦ | 1 | "Bin 15 Level High-High Alarm" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin15Lvl_limits_hi_alm_out | Bin 15 Level High Alarm | lazyb | grain | ¦{register:grain:g_bin15Lvl_limits_hi_alm_out}¦ | 1 | "Bin 15 Level High Alarm" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin15Lvl_limits_lo_alm_out | Bin 15 Level Low Alarm | lazyb | grain | ¦{register:grain:g_bin15Lvl_limits_lo_alm_out}¦ | 1 | "Bin 15 Level Low Alarm" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin15Lvl_limits_lolo_alm_out | Bin 15 Level Low-Low Alarm | lazyb | grain | ¦{register:grain:g_bin15Lvl_limits_lolo_alm_out}¦ | 1 | "Bin 15 Level Low-Low Alarm" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin16Lvl_faults_over_out | Bin 16 Level Sensor Overrange Fault | lazyb | grain | ¦{register:grain:g_bin16Lvl_faults_over_out}¦ | 1 | "Bin 16 Level Sensor Overrange Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin16Lvl_faults_under_out | Bin 16 Level Sensor Underrange Fault | lazyb | grain | ¦{register:grain:g_bin16Lvl_faults_under_out}¦ | 1 | "Bin 16 Level Sensor Underrange Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin16Lvl_faults_chan_out | Bin 16 Level Sensor Channel Fault | lazyb | grain | ¦{register:grain:g_bin16Lvl_faults_chan_out}¦ | 1 | "Bin 16 Level Sensor Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin16Lvl_limits_hihi_alm_out | Bin 16 Level High-High Alarm | lazyb | grain | ¦{register:grain:g_bin16Lvl_limits_hihi_alm_out}¦ | 1 | "Bin 16 Level High-High Alarm" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin16Lvl_limits_hi_alm_out | Bin 16 Level High Alarm | lazyb | grain | ¦{register:grain:g_bin16Lvl_limits_hi_alm_out}¦ | 1 | "Bin 16 Level High Alarm" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin16Lvl_limits_lo_alm_out | Bin 16 Level Low Alarm | lazyb | grain | ¦{register:grain:g_bin16Lvl_limits_lo_alm_out}¦ | 1 | "Bin 16 Level Low Alarm" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin16Lvl_limits_lolo_alm_out | Bin 16 Level Low-Low Alarm | lazyb | grain | ¦{register:grain:g_bin16Lvl_limits_lolo_alm_out}¦ | 1 | "Bin 16 Level Low-Low Alarm" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin17Lvl_faults_over_out | Bin 17 Level Sensor Overrange Fault | lazyb | grain | ¦{register:grain:g_bin17Lvl_faults_over_out}¦ | 1 | "Bin 17 Level Sensor Overrange Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin17Lvl_faults_under_out | Bin 17 Level Sensor Underrange Fault | lazyb | grain | ¦{register:grain:g_bin17Lvl_faults_under_out}¦ | 1 | "Bin 17 Level Sensor Underrange Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin17Lvl_faults_chan_out | Bin 17 Level Sensor Channel Fault | lazyb | grain | ¦{register:grain:g_bin17Lvl_faults_chan_out}¦ | 1 | "Bin 17 Level Sensor Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin17Lvl_limits_hihi_alm_out | Bin 17 Level High-High Alarm | lazyb | grain | ¦{register:grain:g_bin17Lvl_limits_hihi_alm_out}¦ | 1 | "Bin 17 Level High-High Alarm" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin17Lvl_limits_hi_alm_out | Bin 17 Level High Alarm | lazyb | grain | ¦{register:grain:g_bin17Lvl_limits_hi_alm_out}¦ | 1 | "Bin 17 Level High Alarm" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin17Lvl_limits_lo_alm_out | Bin 17 Level Low Alarm | lazyb | grain | ¦{register:grain:g_bin17Lvl_limits_lo_alm_out}¦ | 1 | "Bin 17 Level Low Alarm" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin17Lvl_limits_lolo_alm_out | Bin 17 Level Low-Low Alarm | lazyb | grain | ¦{register:grain:g_bin17Lvl_limits_lolo_alm_out}¦ | 1 | "Bin 17 Level Low-Low Alarm" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin18Lvl_faults_over_out | Bin 18 Level Sensor Overrange Fault | lazyb | grain | ¦{register:grain:g_bin18Lvl_faults_over_out}¦ | 1 | "Bin 18 Level Sensor Overrange Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin18Lvl_faults_under_out | Bin 18 Level Sensor Underrange Fault | lazyb | grain | ¦{register:grain:g_bin18Lvl_faults_under_out}¦ | 1 | "Bin 18 Level Sensor Underrange Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin18Lvl_faults_chan_out | Bin 18 Level Sensor Channel Fault | lazyb | grain | ¦{register:grain:g_bin18Lvl_faults_chan_out}¦ | 1 | "Bin 18 Level Sensor Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin18Lvl_limits_hihi_alm_out | Bin 18 Level High-High Alarm | lazyb | grain | ¦{register:grain:g_bin18Lvl_limits_hihi_alm_out}¦ | 1 | "Bin 18 Level High-High Alarm" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin18Lvl_limits_hi_alm_out | Bin 18 Level High Alarm | lazyb | grain | ¦{register:grain:g_bin18Lvl_limits_hi_alm_out}¦ | 1 | "Bin 18 Level High Alarm" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin18Lvl_limits_lo_alm_out | Bin 18 Level Low Alarm | lazyb | grain | ¦{register:grain:g_bin18Lvl_limits_lo_alm_out}¦ | 1 | "Bin 18 Level Low Alarm" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin18Lvl_limits_lolo_alm_out | Bin 18 Level Low-Low Alarm | lazyb | grain | ¦{register:grain:g_bin18Lvl_limits_lolo_alm_out}¦ | 1 | "Bin 18 Level Low-Low Alarm" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin19Lvl_faults_over_out | Bin 19 Level Sensor Overrange Fault | lazyb | grain | ¦{register:grain:g_bin19Lvl_faults_over_out}¦ | 1 | "Bin 19 Level Sensor Overrange Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin19Lvl_faults_under_out | Bin 19 Level Sensor Underrange Fault | lazyb | grain | ¦{register:grain:g_bin19Lvl_faults_under_out}¦ | 1 | "Bin 19 Level Sensor Underrange Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin19Lvl_faults_chan_out | Bin 19 Level Sensor Channel Fault | lazyb | grain | ¦{register:grain:g_bin19Lvl_faults_chan_out}¦ | 1 | "Bin 19 Level Sensor Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin19Lvl_limits_hihi_alm_out | Bin 19 Level High-High Alarm | lazyb | grain | ¦{register:grain:g_bin19Lvl_limits_hihi_alm_out}¦ | 1 | "Bin 19 Level High-High Alarm" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin19Lvl_limits_hi_alm_out | Bin 19 Level High Alarm | lazyb | grain | ¦{register:grain:g_bin19Lvl_limits_hi_alm_out}¦ | 1 | "Bin 19 Level High Alarm" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin19Lvl_limits_lo_alm_out | Bin 19 Level Low Alarm | lazyb | grain | ¦{register:grain:g_bin19Lvl_limits_lo_alm_out}¦ | 1 | "Bin 19 Level Low Alarm" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin19Lvl_limits_lolo_alm_out | Bin 19 Level Low-Low Alarm | lazyb | grain | ¦{register:grain:g_bin19Lvl_limits_lolo_alm_out}¦ | 1 | "Bin 19 Level Low-Low Alarm" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin20Lvl_faults_over_out | Bin 20 Level Sensor Overrange Fault | lazyb | grain | ¦{register:grain:g_bin20Lvl_faults_over_out}¦ | 1 | "Bin 20 Level Sensor Overrange Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin20Lvl_faults_under_out | Bin 20 Level Sensor Underrange Fault | lazyb | grain | ¦{register:grain:g_bin20Lvl_faults_under_out}¦ | 1 | "Bin 20 Level Sensor Underrange Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin20Lvl_faults_chan_out | Bin 20 Level Sensor Channel Fault | lazyb | grain | ¦{register:grain:g_bin20Lvl_faults_chan_out}¦ | 1 | "Bin 20 Level Sensor Channel Fault" | "Fault Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin20Lvl_limits_hihi_alm_out | Bin 20 Level High-High Alarm | lazyb | grain | ¦{register:grain:g_bin20Lvl_limits_hihi_alm_out}¦ | 1 | "Bin 20 Level High-High Alarm" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin20Lvl_limits_hi_alm_out | Bin 20 Level High Alarm | lazyb | grain | ¦{register:grain:g_bin20Lvl_limits_hi_alm_out}¦ | 1 | "Bin 20 Level High Alarm" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin20Lvl_limits_lo_alm_out | Bin 20 Level Low Alarm | lazyb | grain | ¦{register:grain:g_bin20Lvl_limits_lo_alm_out}¦ | 1 | "Bin 20 Level Low Alarm" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
g_bin20Lvl_limits_lolo_alm_out | Bin 20 Level Low-Low Alarm | lazyb | grain | ¦{register:grain:g_bin20Lvl_limits_lolo_alm_out}¦ | 1 | "Bin 20 Level Low-Low Alarm" | "Alarm Cleared" | 2 | FALSE | 0 | 0 | TRUE | ["43072529-dab4-4518-99fe-e6014e7ba93b"]
Note on I1: 0=Info 1=Warning 2=Critical